Glucometer

Team Meeting Minutes

April 2, 2015

Design Review II

Mike

* FSM works and goes through the whole process
* ADC circuit can generate voltages
* Soldered clips to test strip while we wait for connector part to arrive

Matt

* OLED screen displays the commands
* Needs to adjust formatting to be better for the user

Homa

* Bluetooth successfully connects
* Trouble sending data, but worked earlier

Sofyan

* Data appears in app
* Stores in tables in database

Ish

* CAD files for lancing device