## Slide 1: Work Smarter, Not Harder
Brian Celeste, Claire Gaffney, Thomas Kalil, Matthew Lin

## Slide 2: Background: Heart of the Matter
Photoplethysmography
Monitor heart rate and blood oxygenation to detect symptoms of cardiomyopathy
Current device measures changes in blood volume by looking at the absorption and reflection of red and infrared light in hemoglobin
  Describes the content of deoxygenated and oxygenated blood

## Slide 3: Introduction
Retain functionality of last year’s project
Add several new features
  More wavelengths
  Accelerometer
  Wireless Data Transfer
New applications: high performance activity

## Slide 4: Problem Description
Current device works well for its purpose, but has a few shortcomings
  Inability to determine if movement of the board affects data
  Inability to measure more than two wavelengths (oxygenated and deoxygenated blood)
  No physical memory
  Bulky and hard to wear
Other potential problems: board fragility and battery life

## Slide 5: Proposed Solution
Adding an accelerometer: account for possible noise generated by either device or body
Test for a wider variety of molecules (e.g., lipid and water content): scatter more wavelengths
  Include 2 or more LEDs of different wavelengths, supported by an additional AFE photodetector chip
Wireless bluetooth transmitter
Enhance wearability with a strap and improve compactness to allow for portability
Durability: place device in container
Longevity: include a large capacity battery

## Slide 6: Demonstrated Features
Add wavelengths to determine the concentration of other key tissue constituents, such as water and lipids
  Broader range of applications
Accelerometer: account for noise
Robust data analysis tool using new wavelengths, comprehensive data processing testing, clear & organized data presentation
Bluetooth capabilities: live transfer of data
Phone application? Livestream data to allow user or other stakeholders to follow and analyze information
Comfortable fit
Reasonably long battery life for exercise

## Slide 7: Available Technologies
AFE4490 chip:controls the LEDs and the photosensors; measures the timing between detected photons and converts the resulting digital signal to be sent to the PIC microcontroller: Free sample/$17
PIC microcontroller: receives data from AFE and accelerometer, manages data transmission: $20
Accelerometer: account for noise from body or board: closet/< $1
Bluetooth transmitter for wireless communications: $10
LEDS to measure water and lipid molecule wavelengths: < $1 each
All other parts (capacitors, resistors, inductors, etc.): closet
Board itself: fabricated for $50

## Slide 8: Engineering Content: Hardware
Data acquisition (hardware)
  Light emitters/sensors: wave emission (photodiode) and capture (sensor) at specific wavelengths
  Accelerometer: detects motion so that data can be properly adjusted
Data writing/transfer
  On-board memory: collect acquired data on SD card
  Wireless communication: transfer/stream data (bluetooth) to specified computer/mobile device for saving and manipulation

## Slide 9: Engineering Content: Software
Data Manipulation (MATLAB)
extract/calculate and save useful information from data
Display useful information (blood concentrations of oxy- and deoxyhemoglobin, lipids, and water) in user friendly GUI

## Slide 10: Conclusion
Supplement existing board with feature
  New wavelengths: water, lipids
  Bluetooth data transfer
  Accelerometer
  Wearbility
  Portability
  Data display and analysis
More applications: high performance activity

## Slide 11: Questions?